Hi-Flo SR Products

| Part # | Efficiency | Height | Width | Depth | # of Pockets | Price | # of Filters Per Box | Weight Per Filter | Weight Per Box | Boxes Per Pallet (48x48x78) | Stock Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 406280A22 | MERV 14 | 24 | 24 | 22 | 10 | $136.01 | 1 Per Box | 5.45 lbs | 5.45 lbs | 36 B. Per Pallet | Stocked based on Availability |
| 406280A30 | MERV 14 | 24 | 24 | 30 | 10 | $162.57 | 1 Per Box | 5.85 lbs | 5.85 lbs | 36 B. Per Pallet | Stocked based on Availability |
| 406280B22 | MERV 14 | 24 | 20 | 22 | 8 | $111.70 | 2 Per Box | 4.55 lbs | 9.10 lbs | 36 B. Per Pallet | Don’t Stock |
| 406280B30 | MERV 14 | 24 | 20 | 30 | 8 | $132.96 | 1 Per Box | 4.85 lbs | 4.85 lbs | 36 B. Per Pallet | Don’t Stock |
| 406280C22 | MERV 14 | 24 | 12 | 22 | 5 | $72.71 | 2 Per Box | 5.85 lbs | 11.70 lbs | 36 B. Per Pallet | Don’t Stock |
| 406280C30 | MERV 14 | 24 | 12 | 30 | 5 | $85.96 | 2 Per Box | 6.25 lbs | 12.50 lbs | 36 B. Per Pallet | Don’t Stock |
| 406280D22 | MERV 14 | 20 | 20 | 22 | 8 | $99.54 | 2 Per Box | 3.85 lbs | 7.70 lbs | 36 B. Per Pallet | Don’t Stock |
| 406280D30 | MERV 14 | 20 | 20 | 30 | 8 | $118.53 | 1 Per Box | 4.15 lbs | 4.15 lbs | 36 B. Per Pallet | Don’t Stock |
| 406280E22 | MERV 14 | 20 | 24 | 22 | 10 | $133.92 | 1 Per Box | 4.55 lbs | 4.55 lbs | 36 B. Per Pallet | Don’t Stock |
| 406280E30 | MERV 14 | 20 | 24 | 30 | 10 | $161.30 | 1 Per Box | 4.85 lbs | 4.85 lbs | 36 B. Per Pallet | Don’t Stock |
| 406280F22 | MERV 14 | 12 | 24 | 22 | 10 | $121.32 | 2 Per Box | 5.85 lbs | 11.70 lbs | 36 B. Per Pallet | Don’t Stock |
| 406280F30 | MERV 14 | 12 | 24 | 30 | 10 | $146.34 | 2 Per Box | 6.05 lbs | 12.10 lbs | 36 B. Per Pallet | Don’t Stock |
| 406281A22 | MERV 13 | 24 | 24 | 22 | 10 | $112.70 | 2 Per Box | 5.45 lbs | 10.90 lbs | 36 B. Per Pallet | Stocked based on Availability |
| 406281A12 | MERV 13 | 24 | 24 | 12 | 10 | $88.25 | 2 Per Box | 5.05 lbs | 10.10 lbs | 36 B. Per Pallet | Stocked based on Availability |
| 406281B22 | MERV 13 | 24 | 20 | 22 | 8 | $92.55 | 2 Per Box | 4.55 lbs | 9.10 lbs | 36 B. Per Pallet | Don’t Stock |
| 406281B12 | MERV 13 | 24 | 20 | 12 | 8 | $72.87 | 2 Per Box | 4.15 lbs | 8.30 lbs | 36 B. Per Pallet | Don’t Stock |
| 406281C22 | MERV 13 | 24 | 12 | 22 | 5 | $60.24 | 2 Per Box | 5.85 lbs | 11.70 lbs | 36 B. Per Pallet | Don’t Stock |
| 406281C12 | MERV 13 | 24 | 12 | 12 | 5 | $47.79 | 2 Per Box | 5.45 lbs | 10.90 lbs | 36 B. Per Pallet | Don’t Stock |
| 406281D22 | MERV 13 | 20 | 20 | 22 | 8 | $82.47 |  | 3.85 lbs |  | 36 B. Per Pallet | Don’t Stock |
| 406281D12 | MERV 13 | 20 | 20 | 12 | 8 | $66.20 |  | 3.55 lbs |  | 36 B. Per Pallet | Don’t Stock |
| 406281E22 | MERV 13 | 20 | 24 | 22 | 10 | $110.97 |  | 5.85 lbs |  | 36 B. Per Pallet | Don’t Stock |
| 406281E12 | MERV 13 | 20 | 24 | 12 | 10 | $87.18 |  | 5.85 lbs |  | 36 B. Per Pallet | Don’t Stock |
| 406281F22 | MERV 13 | 12 | 24 | 22 | 10 | $100.52 | 4 Per Box | 5.85 lbs | 23.40 lbs | 36 B. Per Pallet | Don’t Stock |
| 406281F12 | MERV 13 | 12 | 24 | 12 | 10 | $79.52 | 4 Per Box | 5.25 lbs | 21 lbs | 36 B. Per Pallet | Don’t Stock |

Absolute VGSR HEPA

| Part # | Efficiency | Height | Width | Depth | Rated Airflow | Price | # of Filters Per Box | Weight Per Filter | Weight Per Box | Boxes Per Pallet (48x40x78) | Stock Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 855010586 | 99.97% | 12 | 24 | 12 | 900 cfm | $310.38 | 1 Per Box | 14 lbs | 14 lbs | 18 B. Per Pallet | Don’t Stock |
| 855010585 | 99.97% | 24 | 24 | 12 | 2000 cfm | $493.43 | 1 Per Box | 25 lbs | 25 lbs | 18 B. Per Pallet | Don’t Stock |
| 855010584 | 99.97% | 24 | 24 | 12 | 2400 cfm | $517.31 | 1 Per Box | 25 lbs | 25 lbs | 18 B. Per Pallet | Stocked based on Availability |

30/30

| Part # | Efficiency | Height | Width | Depth | Price | # of Filters Per Box | Weight Per Filter | Weight Per Box | Boxes Per Pallet | Stock Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 049880005 | MERV 8/8A | 24 | 24 | 2 | $12.21 | 12 Per Box | 1.50 lbs | 18 lbs | 12 B. Per Pallet (48x48x78) | Stocked based on Availability |
| 049880012 | MERV 8/8A | 24 | 20 | 2 | $10.16 | 12 Per Box | 1.32 lbs | 15.84 lbs | 12 B. Per Pallet (48x40x78) | Stocked based on Availability |
| 049880006 | MERV 8/8A | 24 | 12 | 2 | $7.41 | 24 Per Box | .40 lbs | 9.60 lbs | 12 B. Per Pallet (48x48x78) | Stocked based on Availability |
| 049880002 | MERV 8/8A | 20 | 20 | 2 | $8.93 | 12 Per Box | 1.15 lbs | 13.80 lbs | 12 B. Per Pallet (48x40x68) | Stocked based on Availability |
| 059413001 | MERV 8/8A | 24 | 24 | 4 | $21.55 | 6 Per Box | 2.86 lbs | 17.16 lbs | 12 B. Per Pallet (48x48x78) | Stocked based on Availability |

30/30 Dual 9

| Part # | Efficiency | Height | Width | Depth | Price | # of Filters Per Box | Weight Per Filter | Weight Per Box | Boxes Per Pallet (48x48x78) | Stock Status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 406332005 | MERV 9/9A | 24 | 24 | 4 | $32.70 | 6 Per Box | 2.86 lbs | 17.16 lbs | 12 B. Per Pallet | Stocked based on Availability |
| 406331005 | MERV 9/9A | 24 | 24 | 2 | $19.21 | 12 Per Box | 1.58 lbs | 18.96 lbs | 12 B. Per Pallet | Stocked based on Availability |

- Hi-Flo SR Products Dimensions: L:24  W:8  H:24

- Absolute VGSR HEPA Dimensions: L:25 W:13 H:25

- 30/30 Dimensions:

- 049880005 (Dimensions: L:25 W:25 H:25)

- 049880006 (Dimensions: L:25 W:25 H:25)

- 059413001 (Dimensions: L:25 W:25 H:25)

- 049880012 (Dimensions: L:24 W:20 H:26)

- 049880002 (Dimensions: L:24 W:20 H:20)

- 30/30 Dual 9 Dimensions: L:25 W:25 H:25